## Sheet1
Name | Onoff | Input | Pre_gain | PGA_gain | Tot_gain | Bias_res | Bias_sup | Bias_inv | Bias_adj | Bias_V | Offset_adj | Offset_V | Filt_en | Cut_freq | Apply | CC | MB | Pre | DAQCH | V_Bias_Dir | V_Bias_Inv | R_Load | V_Output_Dir | V_Output_Inv | V_Input_Dir | V_Input_Inv | V_Bol | I_Bol | R_Bol
Large_1-3_1 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 0 | 1 |  |  | 60000000000
5T6 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 1 | 2 |  |  | 60000000000
Large_1-3_3 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 2 | 3 |  |  | 60000000000
62C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 3 | 4 |  |  | 60000000000
41C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 4 | 5 |  |  | 60000000000
62D | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 5 | 6 |  |  | 60000000000
1cmLMO | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 0.1 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 0 | 7 | 0.10334 | -0.10334 | 60000000000 | -0.89159 | 1.1662 | -0.030744 | 0.040213 | 0.035479 | 1.131e-12 | 31369075748.1059
41B3X1N002 | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 0.1 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 1 | 8 | 0.10146 | -0.10146 | 60000000000 | -0.33607 | 0.17037 | -0.011589 | 0.0058748 | 0.0087317 | 1.5455e-12 | 5649878027.0126
LD | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 0.1 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 2 | 9 | 0.10163 | -0.10163 | 60000000000 | -0.91521 | 0.91496 | -0.031559 | 0.03155 | 0.031555 | 1.1679e-12 | 27017766591.1322
62A | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 40 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146016 | 3 | 10 |  |  | 60000000000
41B3X1N001 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 0.1 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 4 | 11 | 0.10118 | -0.10118 | 10000000000 | 0.14673 | 0.06788 | 3.5614e-06 | 1.6476e-06 | 9.5692e-07 | 1.0118e-11 | 94576.6481
19T20 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 0.1 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 5 | 12 | 0.10155 | -0.10155 | 10000000000 | 0.00303 | -0.02331 | 7.3544e-08 | -5.6578e-07 | 3.1966e-07 | 1.0155e-11 | 31478.2078
Large_1-3_1 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 0 | 1 |  |  | 60000000000
5T6 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 1 | 2 |  |  | 60000000000
Large_1-3_3 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 2 | 3 |  |  | 60000000000
62C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 3 | 4 |  |  | 60000000000
41C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 4 | 5 |  |  | 60000000000
62D | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 5 | 6 |  |  | 60000000000
1cmLMO | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 0.2 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 0 | 7 | 0.19816 | -0.19816 | 60000000000 | -1.6884 | 1.9104 | -0.05822 | 0.065876 | 0.062048 | 2.2685e-12 | 27351769844.2456
41B3X1N002 | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 0.2 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 1 | 8 | 0.19849 | -0.19849 | 60000000000 | -0.70549 | 0.07723 | -0.024327 | 0.0026631 | 0.013495 | 3.0832e-12 | 4376935049.4422
LD | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 0.2 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 2 | 9 | 0.20133 | -0.20133 | 60000000000 | -1.6046 | 1.6451 | -0.055332 | 0.056727 | 0.056029 | 2.4217e-12 | 23136563416.6485
62A | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 40 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146016 | 3 | 10 |  |  | 60000000000
41B3X1N001 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 0.2 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 4 | 11 | 0.20023 | -0.20023 | 10000000000 | 0.11588 | 0.0756 | 2.8126e-06 | 1.835e-06 | 4.8883e-07 | 2.0023e-11 | 24413.7315
19T20 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 0.2 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 5 | 12 | 0.20016 | -0.20016 | 10000000000 | 0.00893 | -0.05857 | 2.1675e-07 | -1.4216e-06 | 8.1917e-07 | 2.0016e-11 | 40926.1646
Large_1-3_1 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 0 | 1 |  |  | 60000000000
5T6 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 1 | 2 |  |  | 60000000000
Large_1-3_3 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 2 | 3 |  |  | 60000000000
62C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 3 | 4 |  |  | 60000000000
41C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 4 | 5 |  |  | 60000000000
62D | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 5 | 6 |  |  | 60000000000
1cmLMO | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 0.3 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 0 | 7 | 0.30304 | -0.30304 | 60000000000 | -2.3238 | 2.5912 | -0.080131 | 0.089351 | 0.084741 | 3.6383e-12 | 23291213022.3081
41B3X1N002 | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 0.3 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 1 | 8 | 0.29951 | -0.29951 | 60000000000 | -1 | -0.06357 | -0.034484 | -0.0021921 | 0.016146 | 4.7227e-12 | 3418752038.3179
LD | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 0.3 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 2 | 9 | 0.29876 | -0.29876 | 60000000000 | -2.1272 | 2.2436 | -0.073353 | 0.077367 | 0.07536 | 3.7233e-12 | 20239804525.9708
62A | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 40 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146016 | 3 | 10 |  |  | 60000000000
41B3X1N001 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 0.3 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 4 | 11 | 0.30172 | -0.30172 | 10000000000 | 0.12869 | 0.01458 | 3.1235e-06 | 3.5388e-07 | 1.3848e-06 | 3.0172e-11 | 45898.0662
19T20 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 0.3 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 5 | 12 | 0.30251 | -0.30251 | 10000000000 | 0.03283 | -0.07306 | 7.9684e-07 | -1.7733e-06 | 1.2851e-06 | 3.0251e-11 | 42480.5221
Large_1-3_1 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 0 | 1 |  |  | 60000000000
5T6 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 1 | 2 |  |  | 60000000000
Large_1-3_3 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 2 | 3 |  |  | 60000000000
62C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 3 | 4 |  |  | 60000000000
41C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 4 | 5 |  |  | 60000000000
62D | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 5 | 6 |  |  | 60000000000
1cmLMO | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 0.4 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 0 | 7 | 0.40052 | -0.40052 | 60000000000 | -2.6937 | 3.1441 | -0.092886 | 0.10842 | 0.10065 | 4.9978e-12 | 20139049319.8462
41B3X1N002 | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 0.4 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 1 | 8 | 0.40003 | -0.40003 | 60000000000 | -1.3906 | -0.29855 | -0.047951 | -0.010295 | 0.018828 | 6.3534e-12 | 2963456796.3773
LD | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 0.4 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 2 | 9 | 0.3981 | -0.3981 | 60000000000 | -2.4861 | 2.7857 | -0.085727 | 0.096058 | 0.090893 | 5.1201e-12 | 17752029825.9684
62A | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 40 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146016 | 3 | 10 |  |  | 60000000000
41B3X1N001 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 0.4 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 4 | 11 | 0.39893 | -0.39893 | 10000000000 | 0.14267 | 0.01324 | 3.4629e-06 | 3.2136e-07 | 1.5708e-06 | 3.9893e-11 | 39374.2915
19T20 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 0.4 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 5 | 12 | 0.40069 | -0.40069 | 10000000000 | 0.06434 | -0.1036 | 1.5617e-06 | -2.5146e-06 | 2.0381e-06 | 4.0069e-11 | 50865.1866
Large_1-3_1 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 0 | 1 |  |  | 60000000000
5T6 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 1 | 2 |  |  | 60000000000
Large_1-3_3 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 2 | 3 |  |  | 60000000000
62C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 3 | 4 |  |  | 60000000000
41C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 4 | 5 |  |  | 60000000000
62D | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 5 | 6 |  |  | 60000000000
1cmLMO | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 0.5 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 0 | 7 | 0.50096 | -0.50096 | 60000000000 | -2.9582 | 3.6175 | -0.10201 | 0.12474 | 0.11337 | 6.4598e-12 | 17550678335.6954
41B3X1N002 | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 0.5 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 1 | 8 | 0.49932 | -0.49932 | 60000000000 | -1.6076 | -0.54678 | -0.055436 | -0.018854 | 0.018291 | 8.0172e-12 | 2281421563.1632
LD | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 0.5 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 2 | 9 | 0.4997 | -0.4997 | 60000000000 | -2.7361 | 3.2379 | -0.094349 | 0.11165 | 0.103 | 6.6116e-12 | 15578719901.3931
62A | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 40 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146016 | 3 | 10 |  |  | 60000000000
41B3X1N001 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 0.5 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 4 | 11 | 0.50091 | -0.50091 | 10000000000 | 0.11282 | -0.00421 | 2.7383e-06 | -1.0218e-07 | 1.4203e-06 | 5.0091e-11 | 28353.8164
19T20 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 0.5 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 5 | 12 | 0.49955 | -0.49955 | 10000000000 | 0.03062 | -0.08438 | 7.432e-07 | -2.0481e-06 | 1.3956e-06 | 4.9955e-11 | 27937.8434
Large_1-3_1 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 0 | 1 |  |  | 60000000000
5T6 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 1 | 2 |  |  | 60000000000
Large_1-3_3 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 2 | 3 |  |  | 60000000000
62C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 3 | 4 |  |  | 60000000000
41C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 4 | 5 |  |  | 60000000000
62D | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 5 | 6 |  |  | 60000000000
1cmLMO | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 0.7 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 0 | 7 | 0.69825 | -0.69825 | 60000000000 | -3.3889 | 4.3249 | -0.11686 | 0.14913 | 0.133 | 9.4209e-12 | 14117081874.9571
41B3X1N002 | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 0.7 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 1 | 8 | 0.69627 | -0.69627 | 60000000000 | -1.7769 | -0.83957 | -0.061271 | -0.028951 | 0.01616 | 1.1335e-11 | 1425651732.8079
LD | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 0.7 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 2 | 9 | 0.69744 | -0.69744 | 60000000000 | -3.1344 | 3.8893 | -0.10808 | 0.13411 | 0.1211 | 9.6057e-12 | 12606880971.0708
62A | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 40 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146016 | 3 | 10 |  |  | 60000000000
41B3X1N001 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 0.7 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 4 | 11 | 0.69821 | -0.69821 | 10000000000 | 0.17669 | -0.01282 | 4.2886e-06 | -3.1117e-07 | 2.2999e-06 | 6.9821e-11 | 32939.749
19T20 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 0.7 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 5 | 12 | 0.69819 | -0.69819 | 10000000000 | 0.02375 | -0.13947 | 5.7646e-07 | -3.3852e-06 | 1.9808e-06 | 6.9819e-11 | 28370.9429
Large_1-3_1 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 0 | 1 |  |  | 60000000000
5T6 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 1 | 2 |  |  | 60000000000
Large_1-3_3 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 2 | 3 |  |  | 60000000000
62C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 3 | 4 |  |  | 60000000000
41C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 4 | 5 |  |  | 60000000000
62D | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 5 | 6 |  |  | 60000000000
1cmLMO | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 0.9 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 0 | 7 | 0.89882 | -0.89882 | 60000000000 | -3.685 | 4.8444 | -0.12707 | 0.16705 | 0.14706 | 1.2529e-11 | 11737059139.2177
41B3X1N002 | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 0.9 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 1 | 8 | 0.90034 | -0.90034 | 60000000000 | -1.875 | -1.0245 | -0.064656 | -0.035326 | 0.014665 | 1.4761e-11 | 993479549.4961
LD | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 0.9 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 2 | 9 | 0.89855 | -0.89855 | 60000000000 | -3.4551 | 4.3694 | -0.11914 | 0.15067 | 0.13491 | 1.2727e-11 | 10599574635.2565
62A | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 40 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146016 | 3 | 10 |  |  | 60000000000
41B3X1N001 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 0.9 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 4 | 11 | 0.89766 | -0.89766 | 10000000000 | 0.18866 | 0.01101 | 4.5791e-06 | 2.6723e-07 | 2.1559e-06 | 8.9766e-11 | 24017.4652
19T20 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 0.9 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 5 | 12 | 0.89944 | -0.89944 | 10000000000 | 0.0081 | -0.15634 | 1.966e-07 | -3.7947e-06 | 1.9956e-06 | 8.9944e-11 | 22187.5333
Large_1-3_1 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 0 | 1 |  |  | 60000000000
5T6 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 1 | 2 |  |  | 60000000000
Large_1-3_3 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 2 | 3 |  |  | 60000000000
62C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 3 | 4 |  |  | 60000000000
41C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 4 | 5 |  |  | 60000000000
62D | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 5 | 6 |  |  | 60000000000
1cmLMO | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 1 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 0 | 7 | 1.0022 | -1.0022 | 60000000000 | -3.9047 | 5.1001 | -0.13464 | 0.17586 | 0.15525 | 1.4115e-11 | 10999284201.3715
41B3X1N002 | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 1 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 1 | 8 | 1.0024 | -1.0024 | 60000000000 | -1.9062 | -1.1323 | -0.065732 | -0.039044 | 0.013344 | 1.6483e-11 | 809537963.49
LD | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 1 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 2 | 9 | 1.0024 | -1.0024 | 60000000000 | -3.6042 | 4.6063 | -0.12428 | 0.15884 | 0.14156 | 1.4347e-11 | 9866812476.341
62A | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 40 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146016 | 3 | 10 |  |  | 60000000000
41B3X1N001 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 1 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 4 | 11 | 1.002 | -1.002 | 10000000000 | 0.18303 | 0.01989 | 4.4425e-06 | 4.8277e-07 | 1.9799e-06 | 1.002e-10 | 19758.8675
19T20 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 1 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 5 | 12 | 1.0018 | -1.0018 | 10000000000 | 0.03161 | -0.15421 | 7.6723e-07 | -3.743e-06 | 2.2551e-06 | 1.0018e-10 | 22510.7274
Large_1-3_1 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 0 | 1 |  |  | 60000000000
5T6 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 1 | 2 |  |  | 60000000000
Large_1-3_3 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 2 | 3 |  |  | 60000000000
62C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 3 | 4 |  |  | 60000000000
41C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 4 | 5 |  |  | 60000000000
62D | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 5 | 6 |  |  | 60000000000
1cmLMO | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 3 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 0 | 7 | 2.9994 | -2.9994 | 60000000000 | -5.0806 | 6.6594 | -0.17519 | 0.22964 | 0.20241 | 4.6617e-11 | 4342038422.5691
41B3X1N002 | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 3 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 1 | 8 | 3.0013 | -3.0013 | 60000000000 | -2.0368 | -1.6074 | -0.070236 | -0.055427 | 0.0074047 | 4.9898e-11 | 148394574.7024
LD | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 3 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 2 | 9 | 3.0035 | -3.0035 | 60000000000 | -4.7635 | 6.0602 | -0.16426 | 0.20897 | 0.18662 | 4.6949e-11 | 3974885788.8526
62A | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 40 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146016 | 3 | 10 |  |  | 60000000000
41B3X1N001 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 3 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 4 | 11 | 2.9997 | -2.9997 | 10000000000 | 0.20478 | -0.08321 | 4.9704e-06 | -2.0197e-06 | 3.495e-06 | 2.9997e-10 | 11651.3761
19T20 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 3 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 5 | 12 | 3.0012 | -3.0012 | 10000000000 | 0.03294 | -0.19204 | 7.9951e-07 | -4.6612e-06 | 2.7303e-06 | 3.0012e-10 | 9097.5323
Large_1-3_1 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 0 | 1 |  |  | 60000000000
5T6 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 1 | 2 |  |  | 60000000000
Large_1-3_3 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 2 | 3 |  |  | 60000000000
62C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 3 | 4 |  |  | 60000000000
41C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 4 | 5 |  |  | 60000000000
62D | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 5 | 6 |  |  | 60000000000
1cmLMO | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 5 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 0 | 7 | 4.9967 | -4.9967 | 60000000000 | -5.4872 | 7.1443 | -0.18921 | 0.24635 | 0.21778 | 7.9649e-11 | 2734287119.7702
41B3X1N002 | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 5 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 1 | 8 | 4.9972 | -4.9972 | 60000000000 | -2.0553 | -1.7142 | -0.070873 | -0.059111 | 0.0058807 | 8.3188e-11 | 70691713.3441
LD | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 5 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 2 | 9 | 4.9969 | -4.9969 | 60000000000 | -5.1698 | 6.5452 | -0.17827 | 0.2257 | 0.20198 | 7.9915e-11 | 2527475870.3596
62A | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 40 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146016 | 3 | 10 |  |  | 60000000000
41B3X1N001 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 5 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 4 | 11 | 4.9998 | -4.9998 | 10000000000 | 0.23707 | -0.02545 | 5.7541e-06 | -6.1772e-07 | 3.1859e-06 | 4.9998e-10 | 6372.1291
19T20 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 5 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 5 | 12 | 4.9978 | -4.9978 | 10000000000 | 0.0482 | -0.21963 | 1.1699e-06 | -5.3308e-06 | 3.2504e-06 | 4.9978e-10 | 6503.5419
Large_1-3_1 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 0 | 1 |  |  | 60000000000
5T6 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 1 | 2 |  |  | 60000000000
Large_1-3_3 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 2 | 3 |  |  | 60000000000
62C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 3 | 4 |  |  | 60000000000
41C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 4 | 5 |  |  | 60000000000
62D | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 5 | 6 |  |  | 60000000000
1cmLMO | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 7 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 0 | 7 | 7.0018 | -7.0018 | 60000000000 | -5.6925 | 7.3905 | -0.19629 | 0.25484 | 0.22557 | 1.1294e-10 | 1997300346.5135
41B3X1N002 | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 7 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 1 | 8 | 6.9989 | -6.9989 | 60000000000 | -2.0789 | -1.7637 | -0.071686 | -0.060817 | 0.0054343 | 1.1656e-10 | 46623457.9003
LD | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 7 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 2 | 9 | 6.998 | -6.998 | 60000000000 | -5.3749 | 6.7755 | -0.18534 | 0.23364 | 0.20949 | 1.1314e-10 | 1851548206.5722
62A | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 40 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146016 | 3 | 10 |  |  | 60000000000
41B3X1N001 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 7 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 4 | 11 | 6.9996 | -6.9996 | 10000000000 | 0.15805 | -0.07915 | 3.8362e-06 | -1.9211e-06 | 2.8786e-06 | 6.9996e-10 | 4112.5865
19T20 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 7 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 5 | 12 | 6.9974 | -6.9974 | 10000000000 | 0.06413 | -0.22079 | 1.5566e-06 | -5.359e-06 | 3.4578e-06 | 6.9974e-10 | 4941.512
Large_1-3_1 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 0 | 1 |  |  | 60000000000
5T6 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 1 | 2 |  |  | 60000000000
Large_1-3_3 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 2 | 3 |  |  | 60000000000
62C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 3 | 4 |  |  | 60000000000
41C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 4 | 5 |  |  | 60000000000
62D | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 5 | 6 |  |  | 60000000000
1cmLMO | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 9 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 0 | 7 | 8.9999 | -8.9999 | 60000000000 | -5.7868 | 7.4953 | -0.19955 | 0.25846 | 0.229 | 1.4618e-10 | 1566552442.5292
41B3X1N002 | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 9 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 1 | 8 | 8.998 | -8.998 | 60000000000 | -2.0924 | -1.7996 | -0.07215 | -0.062054 | 0.0050479 | 1.4988e-10 | 33679098.0962
LD | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 9 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 2 | 9 | 9.0003 | -9.0003 | 60000000000 | -5.4615 | 6.8753 | -0.18833 | 0.23708 | 0.2127 | 1.4646e-10 | 1452296566.6675
62A | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 40 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146016 | 3 | 10 |  |  | 60000000000
41B3X1N001 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 9 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 4 | 11 | 8.9973 | -8.9973 | 10000000000 | 0.11543 | -0.07107 | 2.8017e-06 | -1.725e-06 | 2.2633e-06 | 8.9973e-10 | 2515.5825
19T20 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 9 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 5 | 12 | 8.9992 | -8.9992 | 10000000000 | 0.0574 | -0.23004 | 1.3932e-06 | -5.5835e-06 | 3.4883e-06 | 8.9992e-10 | 3876.2857
Large_1-3_1 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 0 | 1 |  |  | 60000000000
5T6 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 1 | 2 |  |  | 60000000000
Large_1-3_3 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 2 | 3 |  |  | 60000000000
62C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 3 | 4 |  |  | 60000000000
41C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 4 | 5 |  |  | 60000000000
62D | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 5 | 6 |  |  | 60000000000
1cmLMO | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 10 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 0 | 7 | 10.0026 | -10.0026 | 60000000000 | -5.7912 | 7.5206 | -0.1997 | 0.25933 | 0.22951 | 1.6288e-10 | 1409063404.0285
41B3X1N002 | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 10 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 1 | 8 | 9.9997 | -9.9997 | 60000000000 | -2.0882 | -1.8067 | -0.072005 | -0.062299 | 0.0048533 | 1.6658e-10 | 29134756.5204
LD | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 10 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 2 | 9 | 10.0012 | -10.0012 | 60000000000 | -5.4605 | 6.9175 | -0.18829 | 0.23853 | 0.21341 | 1.6313e-10 | 1308246816.5874
62A | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 40 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146016 | 3 | 10 |  |  | 60000000000
41B3X1N001 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 10 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 4 | 11 | 9.9977 | -9.9977 | 10000000000 | 0.15789 | -0.0558 | 3.8323e-06 | -1.3544e-06 | 2.5933e-06 | 9.9977e-10 | 2593.9251
19T20 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 10 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 5 | 12 | 9.9998 | -9.9998 | 10000000000 | 0.05877 | -0.21811 | 1.4265e-06 | -5.2939e-06 | 3.3602e-06 | 9.9997e-10 | 3360.2793
Large_1-3_1 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 0 | 1 |  |  | 60000000000
5T6 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 1 | 2 |  |  | 60000000000
Large_1-3_3 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 2 | 3 |  |  | 60000000000
62C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 3 | 4 |  |  | 60000000000
41C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 4 | 5 |  |  | 60000000000
62D | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 5 | 6 |  |  | 60000000000
1cmLMO | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 15 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 0 | 7 | 14.9999 | -14.9999 | 60000000000 | -5.8241 | 7.5619 | -0.20083 | 0.26076 | 0.23079 | 2.4615e-10 | 937610461.1733
41B3X1N002 | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 15 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 1 | 8 | 14.9957 | -14.9957 | 60000000000 | -2.0958 | -1.8354 | -0.072269 | -0.063288 | 0.0044905 | 2.4985e-10 | 17972649.4849
LD | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 15 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 2 | 9 | 14.9986 | -14.9986 | 60000000000 | -5.5231 | 6.9729 | -0.19045 | 0.24044 | 0.21545 | 2.4639e-10 | 874428256.9267
62A | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 40 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146016 | 3 | 10 |  |  | 60000000000
41B3X1N001 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 15 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 4 | 11 | 15.0021 | -15.0021 | 10000000000 | 0.18477 | -0.06686 | 4.4847e-06 | -1.6228e-06 | 3.0538e-06 | 1.5002e-09 | 2035.5609
19T20 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 15 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 5 | 12 | 14.9992 | -14.9992 | 10000000000 | 0.05665 | -0.20929 | 1.375e-06 | -5.0799e-06 | 3.2274e-06 | 1.4999e-09 | 2151.7362
Large_1-3_1 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 0 | 1 |  |  | 60000000000
5T6 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 1 | 2 |  |  | 60000000000
Large_1-3_3 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 2 | 3 |  |  | 60000000000
62C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 3 | 4 |  |  | 60000000000
41C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 4 | 5 |  |  | 60000000000
62D | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 5 | 6 |  |  | 60000000000
1cmLMO | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 20 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 0 | 7 | 20.0008 | -20.0008 | 60000000000 | -5.7773 | 7.5243 | -0.19922 | 0.25946 | 0.22934 | 3.2952e-10 | 695966885.2196
41B3X1N002 | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 20 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 1 | 8 | 19.9999 | -19.9999 | 60000000000 | -2.1136 | -1.8375 | -0.072883 | -0.06336 | 0.0047612 | 3.3325e-10 | 14287121.8967
LD | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 20 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 2 | 9 | 19.9991 | -19.9991 | 60000000000 | -5.4838 | 6.9143 | -0.1891 | 0.23842 | 0.21376 | 3.2976e-10 | 648239044.8567
62A | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 40 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146016 | 3 | 10 |  |  | 60000000000
41B3X1N001 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 20 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 4 | 11 | 19.9996 | -19.9996 | 10000000000 | 0.23295 | -0.0812 | 5.6541e-06 | -1.9709e-06 | 3.8125e-06 | 2e-09 | 1906.2866
19T20 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 20 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 5 | 12 | 19.999 | -19.999 | 10000000000 | 0.0227 | -0.21096 | 5.5097e-07 | -5.1204e-06 | 2.8357e-06 | 1.9999e-09 | 1417.9137
Large_1-3_1 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 0 | 1 |  |  | 60000000000
5T6 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 1 | 2 |  |  | 60000000000
Large_1-3_3 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 2 | 3 |  |  | 60000000000
62C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 3 | 4 |  |  | 60000000000
41C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 4 | 5 |  |  | 60000000000
62D | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 5 | 6 |  |  | 60000000000
1cmLMO | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 25 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 0 | 7 | 24.9995 | -24.9995 | 60000000000 | -5.7113 | 7.4611 | -0.19694 | 0.25728 | 0.22711 | 4.1287e-10 | 550071033.9902
41B3X1N002 | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 25 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 1 | 8 | 24.9998 | -24.9998 | 60000000000 | -2.1344 | -1.8361 | -0.073601 | -0.063313 | 0.0051443 | 4.1658e-10 | 12348994.5812
LD | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 25 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 2 | 9 | 25.001 | -25.001 | 60000000000 | -5.4087 | 6.883 | -0.18651 | 0.23734 | 0.21193 | 4.1315e-10 | 512952355.7254
62A | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 40 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146016 | 3 | 10 |  |  | 60000000000
41B3X1N001 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 25 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 4 | 11 | 24.9986 | -24.9986 | 10000000000 | 0.25557 | 0.01402 | 6.2032e-06 | 3.4029e-07 | 2.9314e-06 | 2.4999e-09 | 1172.6372
19T20 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 25 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 5 | 12 | 24.9977 | -24.9977 | 10000000000 | 0.05325 | -0.22584 | 1.2925e-06 | -5.4816e-06 | 3.387e-06 | 2.4998e-09 | 1354.9334
Large_1-3_1 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 0 | 1 |  |  | 60000000000
5T6 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 1 | 2 |  |  | 60000000000
Large_1-3_3 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 2 | 3 |  |  | 60000000000
62C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 3 | 4 |  |  | 60000000000
41C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 4 | 5 |  |  | 60000000000
62D | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 5 | 6 |  |  | 60000000000
1cmLMO | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 30 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 0 | 7 | 29.9987 | -29.9987 | 60000000000 | -5.6188 | 7.3709 | -0.19375 | 0.25417 | 0.22396 | 4.9625e-10 | 451309275.3181
41B3X1N002 | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 30 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 1 | 8 | 30.0008 | -30.0008 | 60000000000 | -2.139 | -1.8282 | -0.073759 | -0.063041 | 0.005359 | 4.9992e-10 | 10719545.7431
LD | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 30 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 2 | 9 | 29.9991 | -29.9991 | 60000000000 | -5.3194 | 6.7977 | -0.18343 | 0.2344 | 0.20892 | 4.965e-10 | 420774771.8419
62A | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 40 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146016 | 3 | 10 |  |  | 60000000000
41B3X1N001 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 30 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 4 | 11 | 29.9976 | -29.9976 | 10000000000 | 0.25566 | -0.04468 | 6.2053e-06 | -1.0845e-06 | 3.6449e-06 | 2.9998e-09 | 1215.0666
19T20 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 30 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 5 | 12 | 29.9987 | -29.9987 | 10000000000 | 0.04639 | -0.2092 | 1.126e-06 | -5.0777e-06 | 3.1018e-06 | 2.9999e-09 | 1033.9868
Large_1-3_1 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 0 | 1 |  |  | 60000000000
5T6 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 1 | 2 |  |  | 60000000000
Large_1-3_3 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 2 | 3 |  |  | 60000000000
62C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 3 | 4 |  |  | 60000000000
41C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 4 | 5 |  |  | 60000000000
62D | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 5 | 6 |  |  | 60000000000
1cmLMO | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 35 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 0 | 7 | 35.0018 | -35.0018 | 60000000000 | -5.5293 | 7.2937 | -0.19067 | 0.25151 | 0.22109 | 5.7968e-10 | 381394864.0035
41B3X1N002 | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 35 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 1 | 8 | 35.0007 | -35.0007 | 60000000000 | -2.1572 | -1.8124 | -0.074385 | -0.062498 | 0.0059433 | 5.8325e-10 | 10190014.008
LD | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 35 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 2 | 9 | 34.9985 | -34.9985 | 60000000000 | -5.2477 | 6.7113 | -0.18095 | 0.23142 | 0.20619 | 5.7987e-10 | 355575890.3602
62A | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 40 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146016 | 3 | 10 |  |  | 60000000000
41B3X1N001 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 35 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 4 | 11 | 34.9983 | -34.9983 | 10000000000 | 0.23042 | -0.06671 | 5.5927e-06 | -1.6192e-06 | 3.6059e-06 | 3.4998e-09 | 1030.3206
19T20 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 35 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 5 | 12 | 35.0018 | -35.0018 | 10000000000 | 0.03062 | -0.19517 | 7.432e-07 | -4.7371e-06 | 2.7402e-06 | 3.5002e-09 | 782.8648
Large_1-3_1 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 0 | 1 |  |  | 60000000000
5T6 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 1 | 2 |  |  | 60000000000
Large_1-3_3 | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 2 | 3 |  |  | 60000000000
62C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 3 | 4 |  |  | 60000000000
41C | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 4 | 5 |  |  | 60000000000
62D | 0 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 0 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146000 | 5 | 6 |  |  | 60000000000
1cmLMO | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 40 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 0 | 7 | 39.9997 | -39.9997 | 60000000000 | -5.4604 | 7.2274 | -0.18829 | 0.24922 | 0.21876 | 6.6302e-10 | 329940500.5653
41B3X1N002 | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 40 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 1 | 8 | 39.9971 | -39.9971 | 60000000000 | -2.1698 | -1.8064 | -0.074819 | -0.062289 | 0.0062652 | 6.6651e-10 | 9399921.8182
LD | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 1 | 1 | 40 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 2 | 9 | 39.9973 | -39.9973 | 60000000000 | -5.1777 | 6.6414 | -0.17854 | 0.22901 | 0.20378 | 6.6323e-10 | 307252765.8101
62A | 1 | Connected | Low (29) | 1 | 29 | 60 Gohm | External | 0 | 1 | 40 | 1 | 0 | 1 | 100 Hz | 0 | 101 | 3146016 | 3 | 10 |  |  | 60000000000
41B3X1N001 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 40 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 4 | 11 | 40.0011 | -40.0011 | 10000000000 | 0.25777 | 0.02583 | 6.2566e-06 | 6.2694e-07 | 2.8148e-06 | 4.0001e-09 | 703.6825
19T20 | 1 | Connected | High (206) | 200 | 41200 | 10 Gohm | External | 1 | 1 | 40 | 1 | 0 | 1 | 100 Hz | 1 | 101 | 3146016 | 5 | 12 | 39.9988 | -39.9988 | 10000000000 | 0.05197 | -0.20913 | 1.2614e-06 | -5.076e-06 | 3.1687e-06 | 3.9999e-09 | 792.1958